## Sheet1
Field Name | Field Type | Options | Source | Location of Information | Notes:
Public Water Supplier | Short Text |  | Service Titan (maybe) |  | Unsure of good strategy
PWS ID# | Short Text |  |  |  | Unsure of good strategy
PWS Mailing Address | Short Text |  |  |  | Unsure of good strategy
PWS Contact Person | Short Text |  |  |  | Unsure of good strategy
Address of Service | Short Text |  | Service Titan | Location Address
Type of Backflow (Main) | Dropdown | DC, RPZ DCDA, RPDA, DCDA Type II, RPDA Type II, PVB, SVB | Onsite/Service Titan | Onsite/Location Equipment | Should start filtering dropdowns based on other spreadsheet from here
Manufacturer (Main) | Short Text |  | Onsite/Service Titan | Onsite/Location Equipment | Should start filtering dropdowns based on other spreadsheet from here, but options to add onsite
Model Number (Main) | Short Text |  | Onsite/Service Titan | Onsite/Location Equipment | Should start filtering dropdowns based on other spreadsheet from here, but options to add onsite
Serial (Main) | Number |  | Onsite/Service Titan | Onsite/Location Equipment
Size (Main) | Dropdown | 1/2", 3/4", 1", 1-1/4", 1-1/2", 2", 2-1/2", 3", 4", 6", 8", 10", 12" | Onsite/Service Titan | Onsite/Location Equipment | Should start filtering dropdowns based on other spreadsheet from here, but options to add onsite
Manufacturer (Bypass) | Short Text |  | Onsite/Service Titan | Onsite/Location Equipment | Should start filtering dropdowns based on other spreadsheet from here, but options to add onsite
Model Number (Bypass) | Short Text |  | Onsite/Service Titan | Onsite/Location Equipment | Should start filtering dropdowns based on other spreadsheet from here, but options to add onsite
Serial (Bypass) | Number |  | Onsite/Service Titan | Onsite/Location Equipment
Size (Bypass) | Dropdown | 1/2", 3/4", 1", 1-1/4", 1-1/2", 2", 2-1/2", 3", 4", 6", 8", 10", 12" | Onsite/Service Titan | Onsite/Location Equipment | Should start filtering dropdowns based on other spreadsheet from here, but options to add onsite
BPA Location | Short Text |  | Onsite/Service Titan | Onsite/Location Equipment
BPA Serves | Short Text |  | Onsite/Service Titan | Onsite/Location Equipment
Reason for test: | Dropdown, with response | New, Existing, Replacement (with option to enter old serial number | Technician | Filled in field
Is the assembly installed in accordance with manufacturer recommendations and/or local codes? | Multiple Choice | Yes, No | Technician | Filled in field
Is the assembly installed on a non-potable water supply (auxiliary)? | Multiple Choice | Yes, No | Technician | Filled in field
Test Result | Multiple Choice | Passed, Failed | Technician | Filled in field
Initlal Test (Date) | Date (Current) |  | Technician | Filled in field
Initial Test (Time) | Time (Current) |  | Technician | Filled in field
1st Check Reading (DC/RPZ) (Initial Test) | Number (one decimal) |  | Technician | Filled in field | Should only be used if DC/RPZ/DCDA/RPDA selected
1st Check Closed Tight/Leaked (DC/RPZ) (Initial Test) | Multiple Choice | Closed Tight, Leaked | Technician | Filled in field | Should only be used if DC/RPZ/DCDA/RPDA selected
2nd Check Reading (DC/RPZ) (Initial Test) | Number (one decimal) |  | Technician | Filled in field | Should only be used if DC/RPZ/DCDA/RPDA selected
2nd Check Closed Tight/Leaked (DC/RPZ) (Initial Test) | Multiple Choice | Closed Tight, Leaked | Technician | Filled in field | Should only be used if DC/RPZ/DCDA/RPDA selected
Relief Valve Reading (RPZ) (Initial Test) | Number (one decimal) |  | Technician | Filled in field | Should only be used if RPZ/RPDA is selected
Did Not Open | Multiple Choice | Did not open, Opened | Technician | Filled in field
Type II Assembly Bypass Check Reading (Initial Test) | Number (one decimal) |  | Technician | Filled in field | Should only be used if DCDA/RPDA Type II is selected
Type II Assembly Bypass Check Closed Tight/Leaked(Initial Test) | Multiple Choice | Closed Tight, Leaked | Technician | Filled in field | Should only be used if DCDA/RPDA Type II is selected
Air Inlet Valve Reading (PVB/SVB) (Initial Test) | Number (one decimal) |  | Technician | Filled in field | Should only be used if SVB/PVB is selected
Air Inlet Valve Did not open (PVB/SVB) (Initial Test) | Multiple Choice | Yes, No | Technician | Filled in field | Should only be used if SVB/PVB is selected
Air Inlet Valve Did it fully open (PVB/SVB) (Initial Test) | Multiple Choice | Yes, No | Technician | Filled in field | Should only be used if SVB/PVB is selected
Check Valve Reading (PVB/SVB) (Initial Test) | Number (one decimal) |  | Technician | Filled in field | Should only be used if SVB/PVB is selected
Check Valve Leaked (PVB/SVB) (Initial Test) | Multiple Choice | Yes | Technician | Filled in field | Should only be used if SVB/PVB is selected
Repairs and materials used (Main) | Long Text |  | Technician | Filled in field
Repairs and materials used (Bypass) | Long Text |  | Technician | Filled in field
Test After Repair (Date) | Date (Current) |  | Technician | Filled in field
Test After Repair (Time) | Time (Current) |  | Technician | Filled in field
1st Check Reading (DC/RPZ) (Test After Repair) | Number (one decimal) |  | Technician | Filled in field | Should only be used if DC/RPZ/DCDA/RPDA selected
1st Check Closed Tight (DC/RPZ) (Test After Repair) | Multiple Choice | Yes | Technician | Filled in field | Should only be used if DC/RPZ/DCDA/RPDA selected
2nd Check Reading (DC/RPZ) (Test After Repair) | Number (one decimal) |  | Technician | Filled in field | Should only be used if DC/RPZ/DCDA/RPDA selected
2nd Check Closed Tight (DC/RPZ) (Test After Repair) | Multiple Choice | Yes | Technician | Filled in field | Should only be used if DC/RPZ/DCDA/RPDA selected
Relief Valve Reading (RPZ) (Test After Repair) | Number (one decimal) |  | Technician | Filled in field | Should only be used if RPZ/RPDA is selected
Type II Assembly Bypass Check Reading (Test After Repair) | Number (one decimal) |  | Technician | Filled in field | Should only be used if DCDA/RPDA Type II is selected
Type II Assembly Bypass Check Closed Tight (Test After Repair) | Multiple Choice | Yes | Technician | Filled in field | Should only be used if DCDA/RPDA Type II is selected
Air Inlet Valve Reading (PVB/SVB) (Test After Repair) | Number (one decimal) |  | Technician | Filled in field | Should only be used if SVB/PVB is selected
Check Valve Reading (PVB/SVB) (Test After Repair) | Number (one decimal) |  | Technician | Filled in field | Should only be used if SVB/PVB is selected
Differential pressure gauge used: | Multiple Choice | Potable, Non-potable | Onsite/Service Titan | Filled in field | Determines which gauge to pull from technician profile
Gauge Make/Model* | Short Text |  | Service Titan | Technician Profile
Gauge Serial Number* | Number |  | Service Titan | Technician Profile
Gauge Date tested for accuracy* | Date |  | Service Titan | Technician Profile
Remarks | Long Text |  | Technician | Filled in field
Company Name* | Short Text |  | Service Titan | Technician Profile
Company Address* | Short Text |  | Service Titan | Technician Profile
Company Phone Number* | Phone |  | Service Titan | Technician Profile
Licensed Tester Name* | Short Text |  | Service Titan | Technician Profile
Licensed Tester Signature | Signature |  | App Profile Specific
BPAT License #:* | Short Text |  | Service Titan | Technician Profile
License Expiration Date* | Date |  | Service Titan | Technician Profile